# DATA REQUIRED FOR ELECTRICAL AUDIT

Name of the organization:

Unit location Address:

Tele:                                         Fax:		email:

Main Products:

Installed capacity(units): 			Last Year production:

Attach Brief Process description of main product/s/Processes:

Last Year Turn Over: Rs.			Last year electricity bill: Rs.

Contract Demand:         KVA			Incoming Voltage:	     Tariff code:

Transformers: Total numbers:       Pl indicated separately for each transformer: capacity( KVA), HT/LT voltage & present loading %.

Total capacitor: Nos & KVA 			Avg Power factor:

Captive power Generation:

DG sets / Gas Engines/ CPP:

Make/Model/Capacity( KVA)/ Year of manufacture( pl mention for each of the sets):

Fuel( HSD/FO/GAS/other /dual  ):

(Average) units generated /month( KWh):               Hrs run/month:      fuel used/month:

Number of electrical motors: LT:               HT(volt):                       HT(Volt):

| LT Motors | 1-5 Kw | 6-25 Kw | 26-100Kw | >100Kw |
| --- | --- | --- | --- | --- |
| 3ph induction |  |  |  |  |
| Slip ring |  |  |  |  |
| Invertors/VFD |  |  |  |  |
| DC motors |  |  |  |  |

What Utilities/systems do you have? :

| PLANT | YES/NO) | Type, Total Capacity of all units put together & Main Specifications | Number of units |
| --- | --- | --- | --- |
| RO/DM/Soft water plant |  |  |  |
| Cooling towers |  |  |  |
| Refrigeration plant |  |  |  |
| Air Compressors |  |  |  |
| Power plant: CPP/DG |  |  |  |
| Furnaces/ovens |  |  |  |
| Air Handling units |  |  |  |
| Boilers |  |  |  |
| Thermic fluid heaters |  |  |  |
| Mixers/grinders/blenders |  |  |  |
| Electrolysis |  |  |  |
| Main Process m/cs |  |  |  |
| Heaters/dryers |  |  |  |
| Lighting load |  |  |  |
| Others |  |  |  |

Operating shifts: single/double/three (please mention the shift timings)

Please attach the last 2 months energy bills photo copy.

Name, designation & telephone/mobile No. of the contact person for energy audit :